## 10860 14th Ave S Seattle
Scope of Work Budget
Address | 10860 14th Ave S, Seattle, WA 98168
Values
Sort | Category | SubCategory | Description | Notes | Quantity | Unit Cost | Install Cost | Extended $
1 | FLOOR PLANS & PERMITS |  | FLOOR PLANS & PERMITS | (blank)
|  | Floor Plans | Full set of floor plan as-builts | (blank) | 1 | 500 | $ - | 500
|  | Permits | Building permits | (blank) | 1 | 2500 | $ - | 2500
| FLOOR PLANS & PERMITS Total |  |  |  | 2 | 3000 | $ - | 3000
2 | DEMO | Exterior | Demo deck | (blank) | 1 | 300 | $ - | 300
|  |  | Remove all satellite dishes, loose wires around exterio(blank) |  | 1 | 100 | $ - | 100
|  |  | Remove siding (blank) |  | 1 | 1500 | $ - | 1500
|  | Interior | Demo all flooring (blank) |  | 1 | 400 | $ - | 400
|  |  | Demo bathroom – remove flooring, shower surround, (blank) |  | 1 | 350 | $ - | 350
|  |  | Demo fireplace – all floors (blank) |  | 1 | 1000 | $ - | 1000
|  |  | Demo kitchen cabinets, counters, appliances, all fixture(blank) |  | 1 | 350 | $ - | 350
|  |  | Full demo: remove all sheetrock, doors and t(blank) |  | 1 | 1800 | $ - | 1800
|  |  | Remove furnace (blank) |  | 1 | 200 | $ - | 200
|  |  | Decommission Oil Tank (blank) |  | 1 | 700 | $ - | 700
|  | (blank) | DEMO (blank)
|  | Misc | Trash Removal (blank) |  | 1000 | 2 | $ - | 2000
|  | Scope | Bid should include all materials in job according to spe (blank)
| DEMO Total |  |  |  | 1011 | 7402 | $ - | 8700
3 | PAINT | Exterior | Body one and garage doors one color. Trim, facia boar (blank) |  | 2150 | 1 | $ - | 2150
|  | Interior | Walls one color. Doors trim and ceilings same color (blank) |  | 2150 | 2 | $ - | 4300
|  | Scope | Bid should include all materials in job according to spe (blank)
|  | Exterior Body | Iron Mountain | (blank) | 1 | $ - | $ - | $ -
|  | Exterior Trim | Black | (blank) | 1 | $ - | $ - | $ -
|  | Exterior Facia | Black | (blank) | 1 | $ - | $ - | $ -
|  | Exterior Front Door | Drizzle | (blank) | 1 | $ - | $ - | $ -
|  | Exterior Side/Rear Door | Same as Body Color | (blank) | 1 | $ - | $ - | $ -
|  | Interior Wall | White Dove | (blank) | 1 | $ - | $ - | $ -
|  | Interior Trim | Ice Mist | (blank) | 1 | $ - | $ - | $ -
|  | Interior Ceiling | Same as trim | (blank) | 1 | $ - | $ - | $ -
|  | Interior Door | Ice Mist | (blank) | 1 | $ - | $ - | $ -
| PAINT Total |  |  |  | 4309 | 3 | $ - | 6450
4 | ROOF | Scope | Bid should include all materials in job according to spe (blank)
|  | ROOF | 2 layer tear off and replacement - Remove and dispose(blank) |  | 24 | 240 | $ - | 5760
| ROOF Total |  |  |  | 24 | 240 | $ - | 5760
5 | SIDING | New | Install new 6 inch lap hardi plank siding, smooth, includNEW SIDING THROUGHOUT/ INCLUDING CLOSING IN THE PORCH |  | 2800 | 5.5 | $ - | 15400
| SIDING Total |  |  |  | 2800 | 5.5 | $ - | 15400
6 | WINDOWS | New
|  | Scope | Window bid should include all materials in job accordin(blank)
| WINDOWS Total |  |  |  | 22 | 1250 | $ - | 0
7 | GARAGE DOOR | GARAGE DOOR
| GARAGE DOOR Total |  |  |  | 1 | 2139 | $ - | 0
8 | FRAMING | Misc
|  |  | ADDIATIONAL ADDITIONAL FOR ENCLOSING PORCH WITH ACCESS TO ATTIC/ MASTER/ BATHS NEW STAIRS AND HALL |  | 1 | 1500 |  | 2500
|  | Kitchen | Open up kitchen wall and create island /Peninsula (blank) |  | 1 | 1000 | $ - | 1000
|  | Master | Combine two bedrooms, create master with walk in cl (blank) |  | 1 | 1000 | $ - | 1000
Basement
| FRAMING Total |  |  |  | 5 | 6000 | $ - | 4500
9 | ELECTRICAL | Panel | Install new electrical panel (blank) |  | 1 | 1200 | $ - | 1200
|  | Meter | Install new meter on exterior (blank) |  | 1 | 500 | $ - | 500
|  | Mast | Install new mast for electrical meter (blank) |  | 1 | 700 | $ - | 700
|  | Wiring | FULL REWIRE: Install new wiring in home, all rooms to (blank) |  | 2150 | 3 | $ - | 6450
|  | Scope | Electrical bid should include all materials in job accord (blank) |  | 1
|  | Vanity Lighting | Single Vanity Light, Galaxy 4-Light Chrome Standard Ba(blank) |  | 3 | 20 | 50 | 210
|  | Exterior Lights | 2-Light Stainless Steel Outdoor Wall-Mount Cylinder Li (blank) |  | 4 | 40 | 25 | 260
|  | Dining Lights | 5 light Brushed Nickel Shaded Chandelier (blank) |  | 1 | 180 | 25 | 205
|  | Entry Lights | Style Selections Grayford 18-Light Brushed Nickel Chan(blank) |  | 1 | 200 | 25 | 225
|  | Pendant Lights | Brushed Nickel Adjustable Mini Pendant with PerforateFOR KITCHED OVER ISLAND |  | 4 | 35 | 25 | 240
|  | Bathroom Fan | White Fan (blank) |  | 3 | 15 | 50 | 195
|  | Recess Lighting | 6 inch recessed can light with white trim FOR BASEMENT |  | 10 | 33 | 25 | 580
| ELECTRICAL Total |  |  |  | 2180 | 2926 | 225 | 10765
10 | PLUMBING | Misc | EXPANSION TANK AND STRAPS FOR WATER HEATER EXPANSION TANK AND STRAPS FOR WATER HEATER |  | 1 |  |  | 350
|  | Injector Pump | Install injector pump (blank) |  | 1 | 900 | $ - | 900
|  | Pex | Replace existing plumbing with new pex plumbing (blank) |  | 2151 | 2 | $ - | 4302
|  | Scope | Plumbing bid should include all materials in job accord (blank) |  | 1
|  | Garbage Disposal | Garbage Disposal - 205113752 Legend Series 1/3 HP Co(blank) |  | 1 | 55 | 25 | 80
|  | Kitchen Sink | Undermount Rectangular Sink (blank) |  | 1 | 39 | 170 | 209
|  | Kitchen Sink Faucet | Peerless Chrome 1-Handle Pull-Down Kitchen Faucet (blank) |  | 1 | 98 | 50 | 148
|  | Bathroom Toilet | Toilet, White 1.28-GPF (4.85-LPF) 12-in Rough-In Water(blank) |  | 3 | 88 | 50 | 414
|  | Bathroom Tub Pan | White Porcelain Enamel Rectangular Skirted Bathtub w1 FOR MAIN 1 FOR BASEMENT |  | 2 | 129 | 100 | 458
| PLUMBING | Bathroom Tub & Shower Faucet | Danze Amalfi Chrome 1-Handle Shower Faucet Trim Ki (blank) |  | 3 | 178 | 150 | 984
|  | Bathroom Sink Faucet | VIGO Chrome 1-Handle Single Hole WaterSense Bathro(blank) |  | 3 | 99 | 50 | 447
|  | Bathroom Venting | Venting for bathroom | (blank) | 3 | 200 | $ - | 600
|  | Bathroom Sink | Rectangle Sink | Undermount | 3 | 39 | $ - | 117
| PLUMBING Total |  |  |  | 2174 | 1827 | 595 | 9009
11 | GAS PIPING | Range | Install gas piping to range | FOR RANGE AND FURNACE | 1 | 200 | $ - | 1000
| GAS PIPING Total |  |  |  | 1 | 200 | $ - | 1000
12 | HVAC | Furnace | Gas Furnace Change out | (blank) | 1 | 900 | 900 | 1800
|  | Ducting | Install new duct system for entire house | (blank) | 2150 | $ - | 2 | 4300
| HVAC Total |  |  |  | 2151 | 900 | 902 | 6100
13 | FOUNDATION
| FOUNDATION Total |  |  |  | 1 | 2000 | $ - | 0
14 | INSULATION & | Attic | Blow in insulation in attic area to code (blank) |  | 1000 | 0.5 | $ - | 500
|  | Crawlspace | Install new black, 3 mm vapor barrier in crawlspace (blank) |  | 1090 | 1 | $ - | 1090
|  |  | Remove debris, install new insulation, vapor barrier (blank) |  | 1 | 1250 | $ - | 1250
|  | Scope | Bid should include all materials in job according to spe (blank)
|  | Walls | Install new insulation FOR BASEMENT AND ATTIC |  | 1500 | 2 | $ - | 3000
| INSULATION & CRAWLSPACE Total |  |  |  | 3591 | 1253.5 | $ - | 5840
15 | SHEETROCK | New | Install new sheet rock, mud, tape texture to match exisINCLUDING ATTIC |  | 3000 | 3 | $ - | 9000
|  | Scope | Bid should include all materials in job according to spe (blank)
| SHEETROCK Total |  |  |  | 3000 | 3 | $ - | 9000
16 | MILLWORK | Scope | Bid should include all materials in job according to spe (blank)
|  | Front Door | Thermatru Pulse Echo Cluster 5 lite 1 FOR PORCH ENTRY 1 FOR HOUSE |  | 2 | 611 | 200 | 1622
|  | Side-Back Doors | French Doors; ReliaBilt 71.5-in 1-Lite Glass Primer WhitINSTALL FRENCH DOORS FOR REAR ENTERING COURYARD |  | 1 | 400 | 100 | 500
|  | Interior Doors | Flush Prehung Hollow Core Lauan Interior Door 30-in x (blank) |  | 10 | 61 | 75 | 1360
|  |  | Bi Fold Door Flat Panel Chrome hinges |  | 8 | 47 | 50 | 776
|  | Baseboard | 1X4X8 PRIMED MDF BOARD (blank) |  | 2150 | 0.83 | 1 | 3934.5
|  | Window Casing | Flat stock window wrap, 1x4 flat stock MDF with mide (blank) |  | 20 | $ - | 75 | 1500
| MILLWORK Total |  |  |  | 2191 | 1119.83 | 501 | 9692.5
17 | FLOORING
|  | Wood/Laminate Flooring | Evoke- Laminate- Anders Yellow Birch | (blank) | 900 | 1.65 | 1.65 | 2970
|  | Vinyl Flooring | Armstrong Mossimo Fusion | (blank) | 1 | 2.5 | 0.75 | 3.25
| FLOORING Total |  |  |  | 2516 | 41.05 | 2.4 | 2973.25
18 | TILE | Scope | Bid should include all materials in job according to spe (blank)
|  | Kitchen Backsplash | White Penny Round Mosaic Porcelain Wall Tile 11" x 1 (blank) |  | 60 | 5.53 | 7 | 751.8
|  | Fireplace Tile | Grey wood grain series - 6"x24" POSSIBLE REWORK OF FIREPLACE |  | 70 | 6 | 2.25 | 577.5
|  | Bathroom 1 Tile Flooring | 12x24 dark grey tile MASTER |  | 40 | 2.6 | 7 | 384
|  | Bathroom 1 Mud Pan | Style Selections Mitte Gray Porcelain Tile 12-in x 12-in MASTER |  | 20 | 10 | 6 | 320
|  | Bathroom 1 Tile Surround - Shower | Amayas dark grey 4x10 - Vertical Straight Set MASTER |  | 74 | 3.5 | 7 | 777
| TILE Total |  |  |  | 494 | 38.33 | 57.25 | 2810.3
19 | CABINETS | Scope | Bid should include all materials in job according to spe (blank)
|  | Kitchen Cabinet Pulls | Square Nickel Handle 8" General rule: 20 handles per kitchen |  | 20 | 2.4 | 2 | 88
|  | Kitchen Countertops | Arctic Mist, Large LARGE WITH ISLAND |  | 1 | 2230 | $ - | 2230
|  | Bathroom 1 Vanity | 48" Double Sink White Shaker/Carrara Marble/ UndermMASTER |  | 1 | 492 | 60 | 552
|  | Bathroom 1 Vanity Pulls | Square Nickel Handle 8" General rule: 5 handles per vanity |  | 5 | 2.4 | 2 | 22
|  | Kitchen Cabinets - New | White Acrylic, Large | WITH ISLAND | 1 | 4344 | 900 | 5244
| CABINETS Total |  |  |  | 40 | 8000.6 | 1063 | 8136
20 | Exterior Railing
| Exterior Railing Total |  |  |  | 20 | 75 | $ - | 0
21 | Interior Railing Wood |  | Interior Railing - Wood | RAILS LEADING TO BASEMENT | 20 | 50 | $ - | 1000
| Interior Railing Total |  |  |  | 20 | 50 | $ - | 1000
22 | GENERAL EXTER | Scope | Bid should include all materials in job according to spe (blank)
|  | Splash Block | Install new splash blocks at gutters - Chocolate (blank) |  | 8 | 10 | 5 | 120
|  | House Numbers | The Hillman Group 5-in Satin Nickel House Number EXTRA LARGE MODERN |  | 8 | 6 | 2 | 64
| GENERAL EXTERIOR Total |  |  |  | 16 | 16 | 7 | 184
23 | GENERAL FINISH | Interior Door Handles | Kain Design Modern Handle (blank) |  | 8 | 22 | 15 | 296
|  | Closet Handles | Prime-Line 2-in Plated Satin Nickel Sliding Closet Door (blank) |  | 8 | 4 | 2 | 48
|  | Door Bell | Door Bell - 75 dB Wireless Battery Operated Door Bell K(blank) |  | 1 | 13 | 25 | 38
|  | Bathroom Towel Bars, T.P. Holder | ARISTA 4-Piece Leonard Satin Nickel Decorative Bathro (blank) |  | 3 | 46 | 25 | 213
|  | Bathroom Mirrors | 24 in. x 24 in. Simpson Round Wall Mirror with Hang 'N(blank) |  | 3 | 78 | 25 | 309
|  | Front Door Locks | Kwikset Signature Halifax SmartKey Polished Chrome U(blank) |  | 1 | 85 | 30 | 115
23 |  | Back Door Locks | Kwikset Balboa Satin Nickel Universal Keyed Entry Doo(blank) |  | 1 | 37.97 | 40 | 77.97
|  | Interior Door Stops | 3-1/8 in. Satin Nickel Spring Door Stop (blank) |  | 10 | 1.26 | 2 | 32.6
|  | CO2 Detectors | Battery Operated Carbon Monoxide Alarm (blank) |  | 2 | 20 | 5 | 50
|  | Smoke Detectors | Battery Operated Ionization Smoke Alarm (blank) |  | 6 | 5 | 5 | 60
|  | Door Hinges | 3-1/2 in. Chrome 5/8 in. Radius Security Door Hinges V3 Hinges per Door |  | 21 | 8.21 | 2 | 214.41
| GENERAL FINISH Total |  |  |  | 64 | 320.44 | 176 | 1453.98
24 | APPLIANCES | Misc | EXTRA PREMIUM APPLIANCES EXTRA PREMIUM APPLIANCES |  | 1 |  |  | 2000
|  | Package | Stainless Pkg - Electric Stove, Top/Bottom Refrigerator(blank) |  | 1 | 2000 | 50 | 2050
|  | Stove | Premium Stainless Gas range upgrade (blank) |  | 1 | 1000 | $ - | 1000
|  | Refrigerator | Stainless Counter depth fridge (blank) |  | 1 | 500 | $ - | 500
| APPLIANCES Total |  |  |  | 4 | 3500 | 50 | 5550
25 | LANDSCAPING | Modern | Mow edge yard, weed out beds, install black mulch in (blank) |  | 1 | 2500 | $ - | 2500
|  | Basic | Mow edge yard, weed out beds, install black mulch in (blank) |  | 1 | 2500 | $ - | 2500
|  | Patio | Install paver patio | PATIO OUTSIDE BUSHES AROUND FOR PRIVACY | 400 | 10 | $ - | 4000
| LANDSCAPING Total |  |  |  | 402 | 5010 | $ - | 9000
26 | CONTINGENCY | All | Sales Tax | (blank) | 1 |  |  | 14630.21
| CONTINGENCY Total |  |  |  | 1 |  |  | 14630.21
Grand Total |  |  |  |  | 27040 | 47320.25 | 3578.65 | 140954.24
[7 empty] | Sqft |  | Anythign except bathroom | Bathroom
[7 empty] | 2400 | 2212 N 39th St | 135357.24 | 5597
[7 empty] | 1320 | 10860 14th Ave S | 80043.482
=(1320/2400)*$135,357.24 +$5,597